## Instructions
Gastite Worksheet Instructions
Step 1 | Enter minimum equipment pressure (cell K7)
Step 2 | Enter supply pressure (cell K8)
Step 3 | Enter regulator outlet supply pressure. For medium pressure systems only (cell K9)
Step 4 | Select supply pressure for run from Column B dropdown. Note: Select "1" for meter (Supply 1), select "2" for regulator outlet (Supply 2) on medium pressure
system only. Lettered selections (A, B, C…) refer to pressure at end of the run. For example; if Pipe Run "G" is connected to the end of Pipe Run "F",
then select "F" from the dropdown.

## Gastite worksheet
System Worksheet
www.gastite.com
800-662-0208
Project: | [9 empty] | Date:
Contact/Tel: | [9 empty] | Drawn:
Location: | [9 empty] | Checked:
Description: | [9 empty] | Sheet:
System Data and Requirements
[7 empty] | Fuel-Gas Type |  |  | NG |  |  |  | 1
Note: "Supply" (Column B) must be used to establish the starting pressure | [6 empty] | Min Equipment Pressure |  |  | 5 | inches water column
for each pipe run. Pressure will come from meter (Supply 1), regulator (Supply 2) | [6 empty] | Meter or LP Tank Outlet (Supply 1) |  |  | 6 | inches water column
or from another run in the system (Column B). | [6 empty] | Regulator Outlet (Supply 2) |  |  | 7 | inches water coulmn | 1 | 6 |  |  | Gastite | [5 empty] | BIP
Pipe Run | Supply | Run Name | Pipe Size | Pipe Type | Run length (ft) | Run load (CFH or kBTUh) | Pressure drop per ft ("WC/ft) | Pressure drop over run ("WC) | Pressure @ beginning of run ("WC) | Pressure @ end of run ("WC) | Comments | 2 | 7 | Gastite | BIP | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 3 | 4
A | [8 empty] | - | - |  | A | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
B | [8 empty] | - | - |  | B | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
C | [8 empty] | - | - |  | C | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
D | [8 empty] | - | - |  | D | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
E | [8 empty] | - | - |  | E | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
F | [8 empty] | - | - |  | F | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
G | [8 empty] | - | - |  | G | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
H | [8 empty] | - | - |  | H | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
I | [8 empty] | - | - |  | I | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45
J | [8 empty] | - | - |  | J | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
K | [8 empty] | - | - |  | K | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
L | [8 empty] | - | - |  | L | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60
M | [8 empty] | - | - |  | M | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65
N | [8 empty] | - | - |  | N | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70
O | [8 empty] | - | - |  | O | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
P | [8 empty] | - | - |  | P | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
Q | [8 empty] | - | - |  | Q | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85
R | [8 empty] | - | - |  | R | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90
S | [8 empty] | - | - |  | S | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95
T | [8 empty] | - | - |  | T | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
U | [8 empty] | - | - |  | U | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105
V | [8 empty] | - | - |  | V | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110
W | [8 empty] | - | - |  | W | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
X | [8 empty] | - | - |  | X | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120
Y | [8 empty] | - | - |  | Y | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125
Z | [8 empty] | - | - |  | Z | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130
AA | [8 empty] | - | - |  | AA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135
AB | [8 empty] | - | - |  | AB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140
AC | [8 empty] | - | - |  | AC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145
AD | [8 empty] | - | - |  | AD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
AE | [8 empty] | - | - |  | AE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
AF | [8 empty] | - | - |  | AF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
AG | [8 empty] | - | - |  | AG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
AH | [8 empty] | - | - |  | AH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170
AI | [8 empty] | - | - |  | AI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175
AJ | [8 empty] | - | - |  | AJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
AK | [8 empty] | - | - |  | AK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185
AL | [8 empty] | - | - |  | AL | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190
AM | [8 empty] | - | - |  | AM | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195
AN | [8 empty] | - | - |  | AN | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
AO | [8 empty] | - | - |  | AO | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205
AP | [8 empty] | - | - |  | AP | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210
AQ | [8 empty] | - | - |  | AQ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215
AR | [8 empty] | - | - |  | AR | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AS | [8 empty] | - | - |  | AS | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225
AT | [8 empty] | - | - |  | AT | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230
AU | [8 empty] | - | - |  | AU | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235
AV | [8 empty] | - | - |  | AV | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240
AW | [8 empty] | - | - |  | AW | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245
AX | [8 empty] | - | - |  | AX | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
AY | [8 empty] | - | - |  | AY | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255
AZ | [8 empty] | - | - |  | AZ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BA | [8 empty] | - | - |  | BA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265
BB | [8 empty] | - | - |  | BB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270
275
280
285
290
295
300
305
310
315
320
325
330
335
340
345
350
355
360
365
370
375
380
385
390
395
400
405
410
415
420
425
430
435
440
445
450
455
460
465
470
475
480
485
490
495
500
505
510
515
520
525
530
535
540
545
550
555
560
565
570
575
580
585
590
595
600
605
610
615
620
625
630
635
640
645
650
655
660
665
670
675
680
685
690
695
700
705
710
715
720
725
730
735
740
745
750
755
760
765
770
[9 empty] | 0 | [20 empty] | 775
780
785
790
795
800
805
810
815
820
825
830
835
840
845
850
855
860
865
870
875
880
885
890
895
900
905
910
915
920
925
930
935
940
945
950
955
960
965
970
975
980
985
990
995
1000
1005
1010
1015
1020
1025
1030
1035
1040
1045
1050
1055
1060
1065
1070
1075
1080
1085
1090
1095
1100
1105
1110
1115
1120
1125
1130
1135
1140
1145
1150
1155
1160
1165
1170
1175
1180
1185
1190
1195
1200
1205
1210
1215
1220
1225
1230
1235
1240
1245
1250
1255
1260
1265
1270
1275
1280
1285
1290
1295
1300
1305
1310
1315
1320
1325
1330
1335
1340
1345
1350
1355
1360
1365
1370
1375
1380
1385
1390
1395
1400
1405
1410
1415
1420
1425
1430
1435
1440
1445
1450
1455
1460
1465
1470
1475
1480
1485
1490
1495
1500
1505
1510
1515
1520
1525
1530
1535
1540
1545
1550
1555
1560
1565
1570
1575
1580
1585
1590
1595
1600
1605
1610
1615
1620
1625
1630
1635
1640
1645
1650
1655
1660
1665
1670
1675
1680
1685
1690
1695
1700
1705
1710
1715
1720
1725
1730
1735
1740
1745
1750
1755
1760
1765
1770
1775
1780
1785
1790
1795
1800
1805
1810
1815
1820
1825
1830
1835
1840
1845
1850
1855
1860
1865
1870
1875
1880
1885
1890
1895
1900
1905
1910
1915
1920
1925
1930
1935
1940
1945
1950
1955
1960
1965
1970
1975
1980
1985
1990
1995
2000
Note on K10: Determine appliance inlet pressure. Typical pressure is 5" w.c. Some tankless water heaters may require 5.5"-6" w.c.
Note on K11: Determne supply pressure from NG meter or LP tank. 7"=1/4psi 14"=1/2psi 28"=1psi 56"=2psi 140"=5psi
Note on K12: Determine regulator outlet pressure. For medium pressure systems 8"NG or 11"LP.
Note on B13: Use this column to specify starting pressure for each run. Pressure will come from meter (Supply 1), regulator (Supply 2) or another run (Column B).
Note on F13: Select actual run length only, not total developed length (TDL).
Note on G13: NG: 1 CFH = 1000 BTUh LPG: 1 kBTUh = 1000 BTUh
Note on K13: This will be the pressure at the end of the run. For medium pressure systems, delivery pressure to regulator inlet should be 28" w.c.

## Gastite worksheet drawing space
System Worksheet
www.gastite.com
800-662-0208
Project: | [9 empty] | Date:
Contact/Tel: | [9 empty] | Drawn:
Location: | [9 empty] | Checked:
Description: | [9 empty] | Sheet:
System Data and Requirements
[7 empty] | Fuel-Gas Type |  |  | NG |  |  |  | 1
Note: "Supply" (Column B) must be used to establish the starting pressure | [6 empty] | Min Equipment Pressure |  |  |  | inches water column
for each pipe run. Pressure will come from meter (Supply 1), regulator (Supply 2) | [6 empty] | Meter or LP Tank Outlet (Supply 1) |  |  |  | inches water column
or from another run in the system (Column B). | [6 empty] | Regulator Outlet (Supply 2) |  |  |  | inches water coulmn | 1 | 0 |  |  | Gastite | [5 empty] | BIP
Pipe Run | Supply | Run Name | Pipe Size | Pipe Type | Run length (ft) | Run load (CFH or kBTUh) | Pressure drop per ft ("WC/ft) | Pressure drop over run ("WC) | Pressure @ beginning of run ("WC) | Pressure @ end of run ("WC) | Comments | 2 | 0 | Gastite | BIP | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 3 | 4
A | [8 empty] | - | - |  | A | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
B | [8 empty] | - | - |  | B | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
C | [8 empty] | - | - |  | C | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
D | [8 empty] | - | - |  | D | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
E | [8 empty] | - | - |  | E | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
F | [8 empty] | - | - |  | F | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
G | [8 empty] | - | - |  | G | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
H | [8 empty] | - | - |  | H | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
I | [8 empty] | - | - |  | I | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45
J | [8 empty] | - | - |  | J | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
K | [8 empty] | - | - |  | K | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
L | [8 empty] | - | - |  | L | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60
M | [8 empty] | - | - |  | M | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65
N | [8 empty] | - | - |  | N | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70
O | [8 empty] | - | - |  | O | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
P | [8 empty] | - | - |  | P | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
Q | [8 empty] | - | - |  | Q | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85
R | [8 empty] | - | - |  | R | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90
S | [8 empty] | - | - |  | S | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95
T | [8 empty] | - | - |  | T | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
U | [8 empty] | - | - |  | U | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105
V | [8 empty] | - | - |  | V | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110
W | [8 empty] | - | - |  | W | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
X | [8 empty] | - | - |  | X | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120
Y | [8 empty] | - | - |  | Y | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125
Z | [8 empty] | - | - |  | Z | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130
AA | [8 empty] | - | - |  | AA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135
AB | [8 empty] | - | - |  | AB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140
AC | [8 empty] | - | - |  | AC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145
AD | [8 empty] | - | - |  | AD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
AE | [8 empty] | - | - |  | AE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
AF | [8 empty] | - | - |  | AF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
AG | [8 empty] | - | - |  | AG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
AH | [8 empty] | - | - |  | AH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170
AI | [8 empty] | - | - |  | AI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175
AJ | [8 empty] | - | - |  | AJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
AK | [8 empty] | - | - |  | AK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185
AL | [8 empty] | - | - |  | AL | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190
AM | [8 empty] | - | - |  | AM | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195
AN | [8 empty] | - | - |  | AN | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
AO | [8 empty] | - | - |  | AO | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205
AP | [8 empty] | - | - |  | AP | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210
AQ | [8 empty] | - | - |  | AQ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215
AR | [8 empty] | - | - |  | AR | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AS | [8 empty] | - | - |  | AS | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225
AT | [8 empty] | - | - |  | AT | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230
AU | [8 empty] | - | - |  | AU | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235
AV | [8 empty] | - | - |  | AV | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240
AW | [8 empty] | - | - |  | AW | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245
AX | [8 empty] | - | - |  | AX | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
AY | [8 empty] | - | - |  | AY | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255
AZ | [8 empty] | - | - |  | AZ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BA | [8 empty] | - | - |  | BA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265
BB | [8 empty] | - | - |  | BB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270
275
280
285
290
295
300
305
310
315
320
325
330
335
340
345
350
355
360
365
370
375
380
385
390
395
400
405
410
415
420
425
430
435
440
445
450
455
460
465
470
475
480
485
490
495
500
505
510
515
520
525
530
535
540
545
550
555
560
565
570
575
580
585
590
595
600
605
610
615
620
625
630
635
640
645
650
655
660
665
670
675
680
685
690
695
700
705
710
715
720
725
730
735
740
745
750
755
760
765
770
[9 empty] | 0 | [20 empty] | 775
780
785
790
795
800
805
810
815
820
825
830
835
840
845
850
855
860
865
870
875
880
885
890
895
900
905
910
915
920
925
930
935
940
945
950
955
960
965
970
975
980
985
990
995
1000
1005
1010
1015
1020
1025
1030
1035
1040
1045
1050
1055
1060
1065
1070
1075
1080
1085
1090
1095
1100
1105
1110
1115
1120
1125
1130
1135
1140
1145
1150
1155
1160
1165
1170
1175
1180
1185
1190
1195
1200
1205
1210
1215
1220
1225
1230
1235
1240
1245
1250
1255
1260
1265
1270
1275
1280
1285
1290
1295
1300
1305
1310
1315
1320
1325
1330
1335
1340
1345
1350
1355
1360
1365
1370
1375
1380
1385
1390
1395
1400
1405
1410
1415
1420
1425
1430
1435
1440
1445
1450
1455
1460
1465
1470
1475
1480
1485
1490
1495
1500
1505
1510
1515
1520
1525
1530
1535
1540
1545
1550
1555
1560
1565
1570
1575
1580
1585
1590
1595
1600
1605
1610
1615
1620
1625
1630
1635
1640
1645
1650
1655
1660
1665
1670
1675
1680
1685
1690
1695
1700
1705
1710
1715
1720
1725
1730
1735
1740
1745
1750
1755
1760
1765
1770
1775
1780
1785
1790
1795
1800
1805
1810
1815
1820
1825
1830
1835
1840
1845
1850
1855
1860
1865
1870
1875
1880
1885
1890
1895
1900
1905
1910
1915
1920
1925
1930
1935
1940
1945
1950
1955
1960
1965
1970
1975
1980
1985
1990
1995
2000
Note on K34: Determine appliance inlet pressure. Typical pressure is 5" w.c. Some tankless water heaters may require 5.5"-6" w.c.
Note on K35: Determne supply pressure from NG meter or LP tank. 7"=1/4psi 14"=1/2psi 28"=1psi 56"=2psi 140"=5psi
Note on K36: Determine regulator outlet pressure. For medium pressure systems 8"NG or 11"LP.
Note on B37: Use this column to specify starting pressure for each run. Pressure will come from meter (Supply 1), regulator (Supply 2) or another run (Column B).
Note on F37: Select actual run length only, not total developed length (TDL).
Note on K37: This will be the pressure at the end of the run. For medium pressure systems, delivery pressure to regulator inlet should be 28" w.c.
Note on G37: NG: 1 CFH = 1000 BTUh LPG: 1 kBTUh = 1000 BTUh

## Example 1
System Worksheet
www.gastite.com
800-662-0208
Project: | [9 empty] | Date:
Contact/Tel: | [9 empty] | Drawn:
Location: | [9 empty] | Checked:
Description: | Low Pressure Series System | [8 empty] | Sheet:
System Data and Requirements
Note: "Supply" (Column B) must be used to establish the starting pressure | [6 empty] | Min Equipment Pressure |  |  | 5 | inches water column
for each pipe run. Pressure will come from meter (Supply 1), regulator (Supply 2) | [6 empty] | Meter or LP Tank Outlet (Supply 1) |  |  | 6 | inches water column
or from another run in the system (Column B). | [6 empty] | Regulator Outlet (Supply 2) |  |  |  | inches water coulmn | 1 | 6 |  |  | Gastite | [5 empty] | BIP
Pipe Run | Supply | Run Name | Pipe Size | Pipe Type | Run length (ft) | Run load (CFH) | Pressure drop per ft ("WC/ft) | Pressure drop over run ("WC) | Pressure @ beginning of run ("WC) | Pressure @ end of run ("WC) | Comments | 2 | 0 | Gastite | BIP | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 3 | 4
A | 1 | Trunk A | 1 | Gastite | 40 | 221 | 0.013511 | 0.54046 | 6 | 5.4595 |  | A | 5.4595 | 0.013511 | 0.0062965 | 0.28759 | 0.075633 | 0.013511 | 0.0060961 | 0.0013635 | 0.00035507 | 0.079517 | 0.020316 | 0.0062965 | 0.0016642 | 0.0007877 | 0.00023433 | 3.4484e-05 | 9.2253e-06 | 5
B | A | Trunk B | 1 | Gastite | 5 | 141 | 0.0053044 | 0.026522 | 5.4595 | 5.433 |  | B | 5.433 | 0.0053044 | 0.0027437 | 0.11569 | 0.028432 | 0.0053044 | 0.0024377 | 0.0005477 | 0.00014845 | 0.034649 | 0.0088527 | 0.0027437 | 0.00072516 | 0.00034324 | 0.00010211 | 1.5027e-05 | 4.0199e-06 | 10
C | B | Trunk C | 1 | Gastite | 10 | 105 | 0.0028725 | 0.028725 | 5.433 | 5.4043 |  | C | 5.4043 | 0.0028725 | 0.001591 | 0.063661 | 0.014965 | 0.0028725 | 0.0013361 | 0.00030109 | 8.3784e-05 | 0.020093 | 0.0051336 | 0.001591 | 0.00042051 | 0.00019904 | 5.9213e-05 | 8.7137e-06 | 2.3311e-06 | 15
D | C | Trunk D | 0.75 | Gastite | 10 | 53 | 0.0033781 | 0.033781 | 5.4043 | 5.3705 |  | D | 5.3705 | 0.0033781 | 0.0014508 | 0.015931 | 0.0033781 | 0.00069267 | 0.00033134 | 7.5178e-05 | 2.2234e-05 | 0.0056783 | 0.0014508 | 0.00044963 | 0.00011884 | 5.625e-05 | 1.6734e-05 | 2.4625e-06 | 6.5878e-07 | 20
E | D | Trunk E | 0.5 | Gastite | 5 | 25 | 0.0034753 | 0.017377 | 5.3705 | 5.3531 |  | E | 5.3531 | 0.0034753 | 0.0014158 | 0.0034753 | 0.00065799 | 0.00014507 | 7.1562e-05 | 1.636e-05 | 5.1737e-06 | 0.0014158 | 0.00036173 | 0.00011211 | 2.9631e-05 | 1.4025e-05 | 4.1724e-06 | 6.1401e-07 | 1.6426e-07 | 25
F | A | Branch F | 0.75 | Gastite | 10 | 80 | 0.0082787 | 0.082787 | 5.4595 | 5.3768 |  | F | 5.3768 | 0.0082787 | 0.0031054 | 0.036692 | 0.0082787 | 0.0016314 | 0.00076732 | 0.00017338 | 4.9431e-05 | 0.012155 | 0.0031054 | 0.00096246 | 0.00025438 | 0.0001204 | 3.5819e-05 | 5.2712e-06 | 1.4102e-06 | 30
G | B | Branch G | 0.5 | Gastite | 10 | 36 | 0.0072759 | 0.072759 | 5.433 | 5.3603 |  | G | 5.3603 | 0.0072759 | 0.002778 | 0.0072759 | 0.0014554 | 0.00030978 | 0.00015055 | 3.4291e-05 | 1.0498e-05 | 0.002778 | 0.00070976 | 0.00021997 | 5.8139e-05 | 2.7519e-05 | 8.1866e-06 | 1.2047e-06 | 3.223e-07 | 35
H | C | Branch H | 0.75 | Gastite | 10 | 52 | 0.0032409 | 0.032409 | 5.4043 | 5.3719 |  | H | 5.3719 | 0.0032409 | 0.0014006 | 0.015328 | 0.0032409 | 0.00066575 | 0.00031871 | 7.2327e-05 | 2.1428e-05 | 0.0054819 | 0.0014006 | 0.00043408 | 0.00011473 | 5.4304e-05 | 1.6155e-05 | 2.3773e-06 | 6.3599e-07 | 40
I | D | Branch J | 0.5 | Gastite | 5 | 28 | 0.0043725 | 0.021862 | 5.3705 | 5.3487 |  | I | 5.3487 | 0.0043725 | 0.0017458 | 0.0043725 | 0.00084211 | 0.00018364 | 9.017e-05 | 2.059e-05 | 6.4462e-06 | 0.0017458 | 0.00044603 | 0.00013824 | 3.6536e-05 | 1.7294e-05 | 5.1447e-06 | 7.5709e-07 | 2.0254e-07 | 45
J | [8 empty] | - | - |  | J | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
K | [8 empty] | - | - |  | K | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
L | [8 empty] | - | - |  | L | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60
M | [8 empty] | - | - |  | M | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65
N | [8 empty] | - | - |  | N | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70
O | [8 empty] | - | - |  | O | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
P | [8 empty] | - | - |  | P | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
Q | [8 empty] | - | - |  | Q | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85
R | [8 empty] | - | - |  | R | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90
S | [8 empty] | - | - |  | S | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95
T | [8 empty] | - | - |  | T | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
U | [8 empty] | - | - |  | U | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105
V | [8 empty] | - | - |  | V | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110
W | [8 empty] | - | - |  | W | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
X | [8 empty] | - | - |  | X | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120
Y | [8 empty] | - | - |  | Y | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125
Z | [8 empty] | - | - |  | Z | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130
AA | [8 empty] | - | - |  | AA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135
AB | [8 empty] | - | - |  | AB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140
AC | [8 empty] | - | - |  | AC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145
AD | [8 empty] | - | - |  | AD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
AE | [8 empty] | - | - |  | AE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
AF | [8 empty] | - | - |  | AF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
AG | [8 empty] | - | - |  | AG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
AH | [8 empty] | - | - |  | AH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170
AI | [8 empty] | - | - |  | AI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175
AJ | [8 empty] | - | - |  | AJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
AK | [8 empty] | - | - |  | AK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185
AL | [8 empty] | - | - |  | AL | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190
AM | [8 empty] | - | - |  | AM | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195
AN | [8 empty] | - | - |  | AN | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
AO | [8 empty] | - | - |  | AO | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205
AP | [8 empty] | - | - |  | AP | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210
AQ | [8 empty] | - | - |  | AQ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215
AR | [8 empty] | - | - |  | AR | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AS | [8 empty] | - | - |  | AS | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225
AT | [8 empty] | - | - |  | AT | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230
AU | [8 empty] | - | - |  | AU | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235
AV | [8 empty] | - | - |  | AV | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240
AW | [8 empty] | - | - |  | AW | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245
AX | [8 empty] | - | - |  | AX | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
AY | [8 empty] | - | - |  | AY | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255
AZ | [8 empty] | - | - |  | AZ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BA | [8 empty] | - | - |  | BA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265
BB | [8 empty] | - | - |  | BB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270
275
280
285
290
295
300
305
310
315
320
325
330
335
340
345
350
355
360
365
370
375
380
385
390
395
400
405
410
415
420
425
430
435
440
445
450
455
460
465
470
475
480
485
490
495
500
505
510
515
520
525
530
535
540
545
550
555
560
565
570
575
580
585
590
595
600
605
610
615
620
625
630
635
640
645
650
655
660
665
670
675
680
685
690
695
700
705
710
715
720
725
730
735
740
745
750
755
760
765
770
[9 empty] | 0 | [20 empty] | 775
780
785
790
795
800
805
810
815
820
825
830
835
840
845
850
855
860
865
870
875
880
885
890
895
900
905
910
915
920
925
930
935
940
945
950
955
960
965
970
975
980
985
990
995
1000
1005
1010
1015
1020
1025
1030
1035
1040
1045
1050
1055
1060
1065
1070
1075
1080
1085
1090
1095
1100
1105
1110
1115
1120
1125
1130
1135
1140
1145
1150
1155
1160
1165
1170
1175
1180
1185
1190
1195
1200
1205
1210
1215
1220
1225
1230
1235
1240
1245
1250
1255
1260
1265
1270
1275
1280
1285
1290
1295
1300
1305
1310
1315
1320
1325
1330
1335
1340
1345
1350
1355
1360
1365
1370
1375
1380
1385
1390
1395
1400
1405
1410
1415
1420
1425
1430
1435
1440
1445
1450
1455
1460
1465
1470
1475
1480
1485
1490
1495
1500
1505
1510
1515
1520
1525
1530
1535
1540
1545
1550
1555
1560
1565
1570
1575
1580
1585
1590
1595
1600
1605
1610
1615
1620
1625
1630
1635
1640
1645
1650
1655
1660
1665
1670
1675
1680
1685
1690
1695
1700
1705
1710
1715
1720
1725
1730
1735
1740
1745
1750
1755
1760
1765
1770
1775
1780
1785
1790
1795
1800
1805
1810
1815
1820
1825
1830
1835
1840
1845
1850
1855
1860
1865
1870
1875
1880
1885
1890
1895
1900
1905
1910
1915
1920
1925
1930
1935
1940
1945
1950
1955
1960
1965
1970
1975
1980
1985
1990
1995
2000
Note on K33: Determine appliance inlet pressure. Typical pressure is 5" w.c. Some tankless water heaters may require 5.5"-6" w.c.
Note on K34: Determne supply pressure from NG meter or LP tank. 7"=1/4psi 14"=1/2psi 28"=1psi 56"=2psi 140"=5psi
Note on K35: Determine regulator outlet pressure. For medium pressure systems 8"NG or 11"LP.
Note on B36: Use this column to specify starting pressure for each run. Pressure will come from meter (Supply 1), regulator (Supply 2) or another run (Column B).
Note on F36: Select actual run length only, not total developed length (TDL).
Note on G36: 1 cfh = 1000 BTU NG or 2516 BTU LP
Note on K36: This will be the pressure at the end of the run. For medium pressure systems, delivery pressure to regulator inlet should be 28" w.c.

## Example 2
System Worksheet
www.gastite.com
800-662-0208
Project: | [9 empty] | Date:
Contact/Tel: | [9 empty] | Drawn:
Location: | [9 empty] | Checked:
Description: | Parallel/Manifold System | [8 empty] | Sheet:
System Data and Requirements
Note: "Supply" (Column B) must be used to establish the starting pressure | [6 empty] | Min Equipment Pressure |  |  | 5 | inches water column
for each pipe run. Pressure will come from meter (Supply 1), regulator (Supply 2) | [6 empty] | Meter or LP Tank Outlet (Supply 1) |  |  | 7 | inches water column
or from another run in the system (Column B). | [6 empty] | Regulator Outlet (Supply 2) |  |  |  | inches water coulmn | 1 | 7 |  |  | Gastite | [5 empty] | BIP
Pipe Run | Supply | Run Name | Pipe Size | Pipe Type | Run length (ft) | Run load (CFH) | Pressure drop per ft ("WC/ft) | Pressure drop over run ("WC) | Pressure @ beginning of run ("WC) | Pressure @ end of run ("WC) | Comments | 2 | 0 | Gastite | BIP | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 3 | 4
A | 1 | Trunk A | 0.75 | Rigid | 45 | 221 | 0.020316 | 0.91422 | 7 | 6.0858 |  | A | 6.0858 | 0.075633 | 0.020316 | 0.28759 | 0.075633 | 0.013511 | 0.0060961 | 0.0013635 | 0.00035507 | 0.079517 | 0.020316 | 0.0062965 | 0.0016642 | 0.0007877 | 0.00023433 | 3.4484e-05 | 9.2253e-06 | 5
B | A | Branch B | 0.5 | Gastite | 15 | 80 | 0.036692 | 0.55038 | 6.0858 | 5.5354 |  | B | 5.5354 | 0.036692 | 0.012155 | 0.036692 | 0.0082787 | 0.0016314 | 0.00076732 | 0.00017338 | 4.9431e-05 | 0.012155 | 0.0031054 | 0.00096246 | 0.00025438 | 0.0001204 | 3.5819e-05 | 5.2712e-06 | 1.4102e-06 | 10
C | A | Branch C | 0.5 | Gastite | 10 | 36 | 0.0072759 | 0.072759 | 6.0858 | 6.013 |  | C | 6.013 | 0.0072759 | 0.002778 | 0.0072759 | 0.0014554 | 0.00030978 | 0.00015055 | 3.4291e-05 | 1.0498e-05 | 0.002778 | 0.00070976 | 0.00021997 | 5.8139e-05 | 2.7519e-05 | 8.1866e-06 | 1.2047e-06 | 3.223e-07 | 15
D | A | Branch D | 0.5 | Gastite | 20 | 52 | 0.015328 | 0.30656 | 6.0858 | 5.7792 |  | D | 5.7792 | 0.015328 | 0.0054819 | 0.015328 | 0.0032409 | 0.00066575 | 0.00031871 | 7.2327e-05 | 2.1428e-05 | 0.0054819 | 0.0014006 | 0.00043408 | 0.00011473 | 5.4304e-05 | 1.6155e-05 | 2.3773e-06 | 6.3599e-07 | 20
E | A | Trunk E | 0.5 | Gastite | 20 | 53 | 0.015931 | 0.31862 | 6.0858 | 5.7672 |  | E | 5.7672 | 0.015931 | 0.0056783 | 0.015931 | 0.0033781 | 0.00069267 | 0.00033134 | 7.5178e-05 | 2.2234e-05 | 0.0056783 | 0.0014508 | 0.00044963 | 0.00011884 | 5.625e-05 | 1.6734e-05 | 2.4625e-06 | 6.5878e-07 | 25
F | E | Branch F | 0.5 | Gastite | 5 | 28 | 0.0043725 | 0.021862 | 5.7672 | 5.7453 |  | F | 5.7453 | 0.0043725 | 0.0017458 | 0.0043725 | 0.00084211 | 0.00018364 | 9.017e-05 | 2.059e-05 | 6.4462e-06 | 0.0017458 | 0.00044603 | 0.00013824 | 3.6536e-05 | 1.7294e-05 | 5.1447e-06 | 7.5709e-07 | 2.0254e-07 | 30
G | E | Branch G | 0.5 | Gastite | 5 | 25 | 0.0034753 | 0.017377 | 5.7672 | 5.7498 |  | G | 5.7498 | 0.0034753 | 0.0014158 | 0.0034753 | 0.00065799 | 0.00014507 | 7.1562e-05 | 1.636e-05 | 5.1737e-06 | 0.0014158 | 0.00036173 | 0.00011211 | 2.9631e-05 | 1.4025e-05 | 4.1724e-06 | 6.1401e-07 | 1.6426e-07 | 35
H | [8 empty] | - | - |  | H | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
I | [8 empty] | - | - |  | I | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45
J | [8 empty] | - | - |  | J | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
K | [8 empty] | - | - |  | K | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
L | [8 empty] | - | - |  | L | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60
M | [8 empty] | - | - |  | M | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65
N | [8 empty] | - | - |  | N | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70
O | [8 empty] | - | - |  | O | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
P | [8 empty] | - | - |  | P | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
Q | [8 empty] | - | - |  | Q | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85
R | [8 empty] | - | - |  | R | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90
S | [8 empty] | - | - |  | S | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95
T | [8 empty] | - | - |  | T | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
U | [8 empty] | - | - |  | U | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105
V | [8 empty] | - | - |  | V | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110
W | [8 empty] | - | - |  | W | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
X | [8 empty] | - | - |  | X | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120
Y | [8 empty] | - | - |  | Y | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125
Z | [8 empty] | - | - |  | Z | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130
AA | [8 empty] | - | - |  | AA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135
AB | [8 empty] | - | - |  | AB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140
AC | [8 empty] | - | - |  | AC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145
AD | [8 empty] | - | - |  | AD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
AE | [8 empty] | - | - |  | AE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
AF | [8 empty] | - | - |  | AF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
AG | [8 empty] | - | - |  | AG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
AH | [8 empty] | - | - |  | AH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170
AI | [8 empty] | - | - |  | AI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175
AJ | [8 empty] | - | - |  | AJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
AK | [8 empty] | - | - |  | AK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185
AL | [8 empty] | - | - |  | AL | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190
AM | [8 empty] | - | - |  | AM | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195
AN | [8 empty] | - | - |  | AN | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
AO | [8 empty] | - | - |  | AO | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205
AP | [8 empty] | - | - |  | AP | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210
AQ | [8 empty] | - | - |  | AQ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215
AR | [8 empty] | - | - |  | AR | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AS | [8 empty] | - | - |  | AS | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225
AT | [8 empty] | - | - |  | AT | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230
AU | [8 empty] | - | - |  | AU | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235
AV | [8 empty] | - | - |  | AV | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240
AW | [8 empty] | - | - |  | AW | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245
AX | [8 empty] | - | - |  | AX | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
AY | [8 empty] | - | - |  | AY | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255
AZ | [8 empty] | - | - |  | AZ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BA | [8 empty] | - | - |  | BA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265
BB | [8 empty] | - | - |  | BB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270
275
280
285
290
295
300
305
310
315
320
325
330
335
340
345
350
355
360
365
370
375
380
385
390
395
400
405
410
415
420
425
430
435
440
445
450
455
460
465
470
475
480
485
490
495
500
505
510
515
520
525
530
535
540
545
550
555
560
565
570
575
580
585
590
595
600
605
610
615
620
625
630
635
640
645
650
655
660
665
670
675
680
685
690
695
700
705
710
715
720
725
730
735
740
745
750
755
760
765
770
[9 empty] | 0 | [20 empty] | 775
780
785
790
795
800
805
810
815
820
825
830
835
840
845
850
855
860
865
870
875
880
885
890
895
900
905
910
915
920
925
930
935
940
945
950
955
960
965
970
975
980
985
990
995
1000
1005
1010
1015
1020
1025
1030
1035
1040
1045
1050
1055
1060
1065
1070
1075
1080
1085
1090
1095
1100
1105
1110
1115
1120
1125
1130
1135
1140
1145
1150
1155
1160
1165
1170
1175
1180
1185
1190
1195
1200
1205
1210
1215
1220
1225
1230
1235
1240
1245
1250
1255
1260
1265
1270
1275
1280
1285
1290
1295
1300
1305
1310
1315
1320
1325
1330
1335
1340
1345
1350
1355
1360
1365
1370
1375
1380
1385
1390
1395
1400
1405
1410
1415
1420
1425
1430
1435
1440
1445
1450
1455
1460
1465
1470
1475
1480
1485
1490
1495
1500
1505
1510
1515
1520
1525
1530
1535
1540
1545
1550
1555
1560
1565
1570
1575
1580
1585
1590
1595
1600
1605
1610
1615
1620
1625
1630
1635
1640
1645
1650
1655
1660
1665
1670
1675
1680
1685
1690
1695
1700
1705
1710
1715
1720
1725
1730
1735
1740
1745
1750
1755
1760
1765
1770
1775
1780
1785
1790
1795
1800
1805
1810
1815
1820
1825
1830
1835
1840
1845
1850
1855
1860
1865
1870
1875
1880
1885
1890
1895
1900
1905
1910
1915
1920
1925
1930
1935
1940
1945
1950
1955
1960
1965
1970
1975
1980
1985
1990
1995
2000
Note on K33: Determine appliance inlet pressure. Typical pressure is 5" w.c. Some tankless water heaters may require 5.5"-6" w.c.
Note on K34: Determne supply pressure from NG meter or LP tank. 7"=1/4psi 14"=1/2psi 28"=1psi 56"=2psi 140"=5psi
Note on K35: Determine regulator outlet pressure. For medium pressure systems 8"NG or 11"LP.
Note on B36: Use this column to specify starting pressure for each run. Pressure will come from meter (Supply 1), regulator (Supply 2) or another run (Column B).
Note on F36: Select actual run length only, not total developed length (TDL).
Note on G36: 1 cfh = 1000 BTU NG or 2516 BTU LP
Note on K36: This will be the pressure at the end of the run. For medium pressure systems, delivery pressure to regulator inlet should be 28" w.c.

## Example 3
System Worksheet
www.gastite.com
800-662-0208
Project: | [9 empty] | Date:
Contact/Tel: | [9 empty] | Drawn:
Location: | [9 empty] | Checked:
Description: | Medium pressure system | [8 empty] | Sheet:
System Data and Requirements
Note: "Supply" (Column B) must be used to establish the starting pressure | [6 empty] | Min Equipment Pressure |  |  | 5 | inches water column
for each pipe run. Pressure will come from meter (Supply 1), regulator (Supply 2) | [6 empty] | Meter or LP Tank Outlet (Supply 1) |  |  | 56 | inches water column
or from another run in the system (Column B). | [6 empty] | Regulator Outlet (Supply 2) |  |  | 8 | inches water coulmn | 1 | 56 |  |  | Gastite | [5 empty] | BIP
Pipe Run | Supply | Run Name | Pipe Size | Pipe Type | Run length (ft) | Run load (CFH) | Pressure drop per ft ("WC/ft) | Pressure drop over run ("WC) | Pressure @ beginning of run ("WC) | Pressure @ end of run ("WC) | Comments | 2 | 8 | Gastite | BIP | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 3 | 4
A | 1 | Trunk A | 0.5 | Gastite | 45 | 221 | 0.28759 | 12.9416 | 56 | 43.0584 |  | A | 43.0584 | 0.28759 | 0.079517 | 0.28759 | 0.075633 | 0.013511 | 0.0060961 | 0.0013635 | 0.00035507 | 0.079517 | 0.020316 | 0.0062965 | 0.0016642 | 0.0007877 | 0.00023433 | 3.4484e-05 | 9.2253e-06 | 5
B | 2 | Branch B | 0.5 | Gastite | 15 | 80 | 0.036692 | 0.55038 | 8 | 7.4496 |  | B | 7.4496 | 0.036692 | 0.012155 | 0.036692 | 0.0082787 | 0.0016314 | 0.00076732 | 0.00017338 | 4.9431e-05 | 0.012155 | 0.0031054 | 0.00096246 | 0.00025438 | 0.0001204 | 3.5819e-05 | 5.2712e-06 | 1.4102e-06 | 10
C | 2 | Branch C | 0.5 | Gastite | 10 | 36 | 0.0072759 | 0.072759 | 8 | 7.9272 |  | C | 7.9272 | 0.0072759 | 0.002778 | 0.0072759 | 0.0014554 | 0.00030978 | 0.00015055 | 3.4291e-05 | 1.0498e-05 | 0.002778 | 0.00070976 | 0.00021997 | 5.8139e-05 | 2.7519e-05 | 8.1866e-06 | 1.2047e-06 | 3.223e-07 | 15
D | 2 | Branch D | 0.5 | Gastite | 20 | 52 | 0.015328 | 0.30656 | 8 | 7.6934 |  | D | 7.6934 | 0.015328 | 0.0054819 | 0.015328 | 0.0032409 | 0.00066575 | 0.00031871 | 7.2327e-05 | 2.1428e-05 | 0.0054819 | 0.0014006 | 0.00043408 | 0.00011473 | 5.4304e-05 | 1.6155e-05 | 2.3773e-06 | 6.3599e-07 | 20
E | 2 | Trunk E | 0.5 | Gastite | 20 | 53 | 0.015931 | 0.31862 | 8 | 7.6814 |  | E | 7.6814 | 0.015931 | 0.0056783 | 0.015931 | 0.0033781 | 0.00069267 | 0.00033134 | 7.5178e-05 | 2.2234e-05 | 0.0056783 | 0.0014508 | 0.00044963 | 0.00011884 | 5.625e-05 | 1.6734e-05 | 2.4625e-06 | 6.5878e-07 | 25
F | E | Branch F | 0.5 | Gastite | 5 | 28 | 0.0043725 | 0.021862 | 7.6814 | 7.6595 |  | F | 7.6595 | 0.0043725 | 0.0017458 | 0.0043725 | 0.00084211 | 0.00018364 | 9.017e-05 | 2.059e-05 | 6.4462e-06 | 0.0017458 | 0.00044603 | 0.00013824 | 3.6536e-05 | 1.7294e-05 | 5.1447e-06 | 7.5709e-07 | 2.0254e-07 | 30
G | E | Branch G | 0.5 | Gastite | 5 | 25 | 0.0034753 | 0.017377 | 7.6814 | 7.664 |  | G | 7.664 | 0.0034753 | 0.0014158 | 0.0034753 | 0.00065799 | 0.00014507 | 7.1562e-05 | 1.636e-05 | 5.1737e-06 | 0.0014158 | 0.00036173 | 0.00011211 | 2.9631e-05 | 1.4025e-05 | 4.1724e-06 | 6.1401e-07 | 1.6426e-07 | 35
H | [8 empty] | - | - |  | H | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
I | [8 empty] | - | - |  | I | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45
J | [8 empty] | - | - |  | J | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
K | [8 empty] | - | - |  | K | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
L | [8 empty] | - | - |  | L | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60
M | [8 empty] | - | - |  | M | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65
N | [8 empty] | - | - |  | N | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70
O | [8 empty] | - | - |  | O | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
P | [8 empty] | - | - |  | P | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
Q | [8 empty] | - | - |  | Q | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85
R | [8 empty] | - | - |  | R | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90
S | [8 empty] | - | - |  | S | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95
T | [8 empty] | - | - |  | T | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
U | [8 empty] | - | - |  | U | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105
V | [8 empty] | - | - |  | V | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110
W | [8 empty] | - | - |  | W | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
X | [8 empty] | - | - |  | X | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120
Y | [8 empty] | - | - |  | Y | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125
Z | [8 empty] | - | - |  | Z | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130
AA | [8 empty] | - | - |  | AA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135
AB | [8 empty] | - | - |  | AB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140
AC | [8 empty] | - | - |  | AC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145
AD | [8 empty] | - | - |  | AD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
AE | [8 empty] | - | - |  | AE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
AF | [8 empty] | - | - |  | AF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
AG | [8 empty] | - | - |  | AG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
AH | [8 empty] | - | - |  | AH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170
AI | [8 empty] | - | - |  | AI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175
AJ | [8 empty] | - | - |  | AJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
AK | [8 empty] | - | - |  | AK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185
AL | [8 empty] | - | - |  | AL | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190
AM | [8 empty] | - | - |  | AM | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195
AN | [8 empty] | - | - |  | AN | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
AO | [8 empty] | - | - |  | AO | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205
AP | [8 empty] | - | - |  | AP | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210
AQ | [8 empty] | - | - |  | AQ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215
AR | [8 empty] | - | - |  | AR | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AS | [8 empty] | - | - |  | AS | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225
AT | [8 empty] | - | - |  | AT | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230
AU | [8 empty] | - | - |  | AU | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235
AV | [8 empty] | - | - |  | AV | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240
AW | [8 empty] | - | - |  | AW | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245
AX | [8 empty] | - | - |  | AX | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
AY | [8 empty] | - | - |  | AY | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255
AZ | [8 empty] | - | - |  | AZ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BA | [8 empty] | - | - |  | BA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265
BB | [8 empty] | - | - |  | BB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270
275
280
285
290
295
300
305
310
315
320
325
330
335
340
345
350
355
360
365
370
375
380
385
390
395
400
405
410
415
420
425
430
435
440
445
450
455
460
465
470
475
480
485
490
495
500
505
510
515
520
525
530
535
540
545
550
555
560
565
570
575
580
585
590
595
600
605
610
615
620
625
630
635
640
645
650
655
660
665
670
675
680
685
690
695
700
705
710
715
720
725
730
735
740
745
750
755
760
765
770
[9 empty] | 0 | [20 empty] | 775
780
785
790
795
800
805
810
815
820
825
830
835
840
845
850
855
860
865
870
875
880
885
890
895
900
905
910
915
920
925
930
935
940
945
950
955
960
965
970
975
980
985
990
995
1000
1005
1010
1015
1020
1025
1030
1035
1040
1045
1050
1055
1060
1065
1070
1075
1080
1085
1090
1095
1100
1105
1110
1115
1120
1125
1130
1135
1140
1145
1150
1155
1160
1165
1170
1175
1180
1185
1190
1195
1200
1205
1210
1215
1220
1225
1230
1235
1240
1245
1250
1255
1260
1265
1270
1275
1280
1285
1290
1295
1300
1305
1310
1315
1320
1325
1330
1335
1340
1345
1350
1355
1360
1365
1370
1375
1380
1385
1390
1395
1400
1405
1410
1415
1420
1425
1430
1435
1440
1445
1450
1455
1460
1465
1470
1475
1480
1485
1490
1495
1500
1505
1510
1515
1520
1525
1530
1535
1540
1545
1550
1555
1560
1565
1570
1575
1580
1585
1590
1595
1600
1605
1610
1615
1620
1625
1630
1635
1640
1645
1650
1655
1660
1665
1670
1675
1680
1685
1690
1695
1700
1705
1710
1715
1720
1725
1730
1735
1740
1745
1750
1755
1760
1765
1770
1775
1780
1785
1790
1795
1800
1805
1810
1815
1820
1825
1830
1835
1840
1845
1850
1855
1860
1865
1870
1875
1880
1885
1890
1895
1900
1905
1910
1915
1920
1925
1930
1935
1940
1945
1950
1955
1960
1965
1970
1975
1980
1985
1990
1995
2000
Note on K33: Determine appliance inlet pressure. Typical pressure is 5" w.c. Some tankless water heaters may require 5.5"-6" w.c.
Note on K34: Determne supply pressure from NG meter or LP tank. 7"=1/4psi 14"=1/2psi 28"=1psi 56"=2psi 140"=5psi
Note on K35: Determine regulator outlet pressure. For medium pressure systems 8"NG or 11"LP.
Note on B36: Use this column to specify starting pressure for each run. Pressure will come from meter (Supply 1), regulator (Supply 2) or another run (Column B).
Note on F36: Select actual run length only, not total developed length (TDL).
Note on G36: 1 cfh = 1000 BTU NG or 2516 BTU LP
Note on K36: This will be the pressure at the end of the run. For medium pressure systems, delivery pressure to regulator inlet should be 28" w.c.